SOZO BRAIN CENTER

Evidence-Based Neuromodulation

PARKINSON'S DISEASE

Parkinson's Disease — All-in-One Protocol Compendium

FELLOW TIER

For use by SOZO Fellow clinicians under Doctor supervision

Version 1.0  |  April 2026

CONFIDENTIAL

Document Control & Clinical Responsibility

Organization: SOZO Brain Center. All protocols are for authorized SOZO personnel only. No Fellow or Clinical Assistant may independently modify treatment protocols without Doctor authorization.

Organization: SOZO Brain Center

Condition: Parkinson's Disease (G20)

Version: 1.0

Date: April 2026

Tier: FELLOW

For use by SOZO Fellow clinicians under Doctor supervision

© 2026 SOZO Brain Center. All rights reserved. CONFIDENTIAL.

GOVERNANCE RULE: This document is for authorized SOZO personnel only. No Fellow or Clinical Assistant may independently modify treatment protocols without Doctor authorization.

Parkinson's Disease

G20

1.0

tDCS Protocols

Low-intensity direct current applied via scalp electrodes to modulate cortical excitability.

| ID | Protocol Label | Target Region | Parameters | Evidence Level | Off-Label Status |
| --- | --- | --- | --- | --- | --- |
| pd-tdcs-motor | tDCS Motor (Bradykinesia & Rigidity) | Primary Motor Cortex bilateral | current_mA: 2.0, duration_min: 20-30, anode: C3, C4, cathode: Fp1, Fp2 (supraorbital) | high | On-label |
| pd-tdcs-cognition | tDCS Cognition & Executive Function | Left Dorsolateral Prefrontal Cortex | current_mA: 2.0, duration_min: 20, anode: F3, cathode: Fp2 (contralateral supraorbital) | medium | On-label |
| pd-tdcs-mood | tDCS Depression & Apathy | Bilateral DLPFC | current_mA: 2.0, duration_min: 20-30, anode: F3, cathode: F4 | medium | On-label |

Table: Protocols (TDCS)

TPS Protocols

TPS (NEUROLITH) delivers focused ultrasound pulses to modulate deep brain structures. TPS is CE-marked for Alzheimer's disease ONLY. Use in all other conditions is INVESTIGATIONAL and OFF-LABEL. Informed consent and Doctor authorization are mandatory.

| ID | Protocol Label | Target Region | Parameters | Evidence Level | Off-Label Status |
| --- | --- | --- | --- | --- | --- |
| pd-tps-motor | TPS Motor (Bradykinesia & Rigidity) | Bilateral M1 + SMA | pulses: 3000-5000, frequency_hz: 5, energy_mJ_mm2: 0.2 | medium | OFF-LABEL |
| pd-tps-cognition | TPS Cognition (PD-MCI) | L-DLPFC + bilateral PPC | pulses: 4000, frequency_hz: 5, energy_mJ_mm2: 0.2 | low | OFF-LABEL |

Table: Protocols (TPS)

tAVNS Protocols

Transcutaneous auricular vagus nerve stimulation (tAVNS) delivers electrical pulses to the auricular branch of the vagus nerve to modulate autonomic and central circuits.

CES Protocols

Cranial electrotherapy stimulation (CES) applies low-level alternating current via ear-clip electrodes to modulate subcortical and brainstem circuits.

Inclusion & Exclusion Criteria

Inclusion Criteria

Confirmed diagnosis of idiopathic PD by neurologist (UK Brain Bank criteria)

Hoehn & Yahr stage 1-4

Stable medication regimen for >=4 weeks

Age 18-85 years

Able to provide informed consent

Exclusion Criteria

Deep Brain Stimulator or other implanted neurostimulation device

Parkinsonism secondary to medication, stroke, or other cause

Hoehn & Yahr stage 5 (wheelchair-bound/bedridden)

Severe dementia (MoCA <10)

Active psychosis or severe hallucinations

Absolute Contraindications

Deep Brain Stimulator (DBS) implanted

Active seizure disorder or epilepsy

Metallic cranial implants in stimulation path

Unstable medical conditions (e.g. recent stroke <3 months)

Pregnancy

Safety & Contraindications

All neuromodulation treatments must be preceded by comprehensive safety screening. Patients must be monitored throughout each session.

| Category | Severity | Description | Source |
| --- | --- | --- | --- |
| Contraindication | ABSOLUTE | Deep Brain Stimulator (DBS) implanted — absolute contraindication for TPS and tDCS due to DBS interaction risk. | Device manufacturer guidelines |
| Precaution | MODERATE | Unstable ON/OFF fluctuations — time sessions during stable ON window for TPS. | Clinical practice |
| Monitoring | MODERATE | Monitor for dyskinesia exacerbation during and after stimulation sessions. | Clinical observation |
| Precaution | MODERATE | Document levodopa equivalent dose (LED) and medication timing relative to sessions. | SOZO clinical protocol |
| Stopping_Rule | HIGH | Discontinue if new or worsened dyskinesia persists >24 hours post-stimulation. | Clinical safety protocol |
| Contraindication | ABSOLUTE | Deep Brain Stimulator (DBS) implanted | Clinical guidelines |
| Contraindication | ABSOLUTE | Active seizure disorder or epilepsy | Clinical guidelines |
| Contraindication | ABSOLUTE | Metallic cranial implants in stimulation path | Clinical guidelines |
| Contraindication | ABSOLUTE | Unstable medical conditions (e.g. recent stroke <3 months) | Clinical guidelines |
| Contraindication | ABSOLUTE | Pregnancy | Clinical guidelines |

Table: Safety & Contraindications

References & Evidence Sources

pmid='32180044' doi=None title="tDCS in Parkinson's Disease: A Systematic Review and Meta-analysis" authors='Doruk Cengiz A et al.' year=2020 journal='Neurological Sciences' evidence_level='high' notes=''

pmid='20801741' doi=None title="Transcranial direct current stimulation for the treatment of Parkinson's disease" authors='Benninger DH et al.' year=2010 journal='Journal of Neurology, Neurosurgery & Psychiatry' evidence_level='high' notes=''

pmid='16949616' doi=None title="Effects of transcranial direct current stimulation on working memory in patients with Parkinson's disease" authors='Boggio PS et al.' year=2006 journal='Journal of the Neurological Sciences' evidence_level='high' notes=''

pmid='23421889' doi=None title="Therapeutic utility of bifrontal transcranial direct current stimulation in Parkinson's disease" authors='Khedr EM et al.' year=2013 journal='European Journal of Neurology' evidence_level='high' notes=''

pmid='19343477' doi=None title='MDS-UPDRS: Scale presentation and clinimetric testing results' authors='Goetz CG et al.' year=2008 journal='Movement Disorders' evidence_level='high' notes='MDS-UPDRS validation reference'

References & Evidence Sources

1. Doruk Cengiz A et al. (2020). tDCS in Parkinson's Disease: A Systematic Review and Meta-analysis. Neurological Sciences. PMID: 32180044.

2. Benninger DH et al. (2010). Transcranial direct current stimulation for the treatment of Parkinson's disease. Journal of Neurology, Neurosurgery & Psychiatry. PMID: 20801741.

3. Boggio PS et al. (2006). Effects of transcranial direct current stimulation on working memory in patients with Parkinson's disease. Journal of the Neurological Sciences. PMID: 16949616.

4. Khedr EM et al. (2013). Therapeutic utility of bifrontal transcranial direct current stimulation in Parkinson's disease. European Journal of Neurology. PMID: 23421889.

5. Goetz CG et al. (2008). MDS-UPDRS: Scale presentation and clinimetric testing results. Movement Disorders. PMID: 19343477.